## Sheet1
Power Consumption Assessment - Summer |  |  |  |  | Power Consumption Assessment - Winter
email to: info@gcsolar.com.au |  |  |  |  | email to: info@gcsolar.com.au
To enable us to estimate the power required for your proposed or existing power system, we need to know what appliances, equipment or lighting you wish to use, and the duration for which you would use them on a daily or weekly basis. We also need to know the power consumption for each of these items. Most electrical equipment has a stamp or a plate (usually underneath or on the back of the unit) showing its power specifications. This information is generally shown in watts (W), but may also be written in amps (A) or volt-amps (VA). If the rating is in Amps (A), multiply this figure by 230V to find the appliance power in Watts (W). Please fill out the following table with your intended summer energy usage and then intended winter usage on the next page. Try to be as thorough as possible; our quotation can only be as accurate as the information you provide. |  |  |  |  | To provide an accurate quotation we need to know some information about your property. Please answer the following questions as best as possible. The desired days of autonomy question below is the number of days with next to no solar input that you wish to have the system function for soley on battery supply BEFORE having to start a generator to recharge the batteries. Please note that batteries are the most expensive component in your system and so the higher the number of days of autonomy, the higher the system price will be. Days of autonomy typically ranges from 1 to 7 days.
Name: |  |  |  |  | Roof type, pitch, direction, any shade?
Phone / Email: |  |  |  |  | Do you have a generator: |  | If yes make/model/ kVA:
System site address: |  |  |  |  | Desired days of autonomy:
SUMMER POWER CONSUMPTION - edit blue columns only |  |  |  |  | WINTER POWER CONSUMPTION - edit blue columns only
APPLIANCE Description | Qty. | Appliance | Daily | Energy | APPLIANCE Description | Qty. | Appliance | Daily | Energy
|  | Power (W) | Usage (hrs) | requirement (Wh) |  |  | Power (W) | Usage (hrs) | requirement (Wh)
Fluorescent Light | 3 | 40 | 3 | 360 | Fluorescent Light | 3 | 40 | 3 | 360
|  |  |  | 0 |  |  |  |  | 0
LED | 3 | 9 | 3 | 81 | LED | 3 | 9 | 3 | 81
LED |  | 9 |  | 0 | LED |  | 9 |  | 0
LED | 2 | 9 | 0.25 | 4.5 | LED | 2 | 9 | 0.25 | 4.5
LED | 1 | 9 | 0.25 | 2.25 | LED | 1 | 9 | 0.25 | 2.25
|  |  |  | 0 |  |  |  |  | 0
|  |  |  | 0 |  |  |  |  | 0
Fridge | 1 | 70 | 15.7 | 1099 | Fridge | 1 | 70 | 15.7 | 1099
Freezer |  |  |  | 0 | Freezer |  |  |  | 0
Blender | 1 | 150 | 0.08 | 12 | Blender | 1 | 150 | 0.08 | 12
Microwave | 1 | 1000 | 0.07 | 70 | Microwave | 1 | 1000 | 0.07 | 70
Toaster | 1 |  |  | 0 | Toaster | 1 |  |  | 0
|  |  |  | 0 |  |  |  |  | 0
Television | 1 | 80 | 2 | 160 | Television | 1 | 80 | 2 | 160
Stereo | 1 | 20 | 3 | 60 | Stereo | 1 | 20 | 3 | 60
Phone Chargers |  |  |  | 0 | Phone Chargers |  |  |  | 0
Computer | 1 | 120 | 3 | 360 | Computer | 1 | 120 | 3 | 360
|  |  |  | 0 |  |  |  |  | 0
Water Pump | 1 | 300 | 1.5 | 450 | Water Pump | 1 | 300 | 1.5 | 450
Greywater System | 1 |  |  | 0 | Greywater System | 1 |  |  | 0
|  |  |  | 0 |  |  |  |  | 0
Vacuum Cleaner | 1 | 1000 | 0.07 | 70 | Vacuum Cleaner | 1 | 1000 | 0.07 | 70
Washing machine | 1 | 300 | 0.32143 | 96.4286 | Washing machine | 1 | 300 | 0.32143 | 96.4286
|  |  |  | 0 |  |  |  |  | 0
Electric Drill | 1 | 600 | 0.071429 | 42.8571 | Electric Drill | 1 | 600 | 0.071429 | 42.8571
Iron | 1 | 1200 | 0.14286 | 171.4286 | Iron | 1 | 1200 | 0.14286 | 171.4286
|  |  |  | 0 |  |  |  |  | 0
Air Condtioning | 0 |  |  | 0 | Air Condtioning | 0 |  |  | 0
Ceiling Fan | 1 | 80 | 3 | 240 | Ceiling Fan | 1 | 80 | 3 | 240
|  |  |  | 0 |  |  |  |  | 0
Summer Total (W) |  |  | Watts | 3279.4643 | Winter Total (W) |  |  | Watts | 3279.4643
Note on B8: There are several options for available for Appliance entries - • Manual entry, • Select from a list of Appliance groups and Appliances, [these entries can have additional information appended, after selection] • Leave the line blank, providing separation, to make the list more readable.
Note on I8: There are several options for available for Appliance entries - • Manual entry, • Select from a list of Appliance groups and Appliances, [these entries can have additional information appended, after selection] • Leave the line blank, providing separation, to make the list more readable.